# QuickStart Guide for the Emlid Reach RS+

Based on Serc Carleton guides for Emlid RS2 -https://serc.carleton.edu/getsi/teaching_materials/high-precision/unit1.html

# Quick Start

Emlid provides many good resources for getting started with Reach RS+ GPS/GNSS receivers DOCUMENTS. This guide is designed to augment the online resources for easy access in the field.

# This QuickStart Guide assumes:

- Students have learned the basic overview of how Realtime Kinematic (RTK) GPS/GNSS surveys work with both base station and rover/s.

- The supplied Reach RS+ base and rover are preconfigured and fully charged so that you may rapidly carryout an RTK survey of points you desire to know at centimeter precision and accuracy.

- You are provided a pole-tripod for the Reach RS+ base and survey poles for the Reach RS+ rovers.

- Minimal solar activity—check NOAA website (https://www.swpc.noaa.gov/)

- You already downloaded the Emlid Flow app from your phone/tablet’s app store (do not get any of the earlier apps). Apple and Android are both supported. Do this before you leave cellular or WiFi range if you are headed to a remote field site.

# Turning on and connecting with a Reach RS+ receiver

# Understanding the different LED Status lights

First start by powering up a unit – press the power button for 3 seconds –you will see all the LED’s flashing for a few seconds this means the system is loading. The sequence of the LED’s is important

- Orange LED is for power – it should after a few seconds stop flashing and go solid – if the power LED continues flashing and you are not charging the unit it means the battery is low and needs charging.

- Blue LED is for the network – rapid flashing (multiple flashes per second) means the unit is in scanning mode. It should eventually go solid blue –meaning it is in hotspot mode. If it is flashing about 1 per second then it is in client wi-fi mode and is trying to connect to a wireless network.

- Green LED is the status– slow flashing means it is in Time sync mode –it should eventually go solid green meaning normal operation – If there is no green LED then the unit has an internal error and should be restarted see below

For use in the field –simple rule - all the LED’s colours should be solid –if they are flashing after a minute or 2 –you need to restart the unit –NOTE if the problem persists try doing a hard reset – shutdown the unit first then press the power button and keep it depressed for more than 10 seconds. Then restart the unit.

# Connect to the Units Wi-Fi

- Go to your phone/tablet’s Settings and select the WiFi network - look the receiver you want to connect to (it will take a little while to show up after the receiver turns on). Name you are looking for will be like DU_Unit4 or baseunit8
Password for all Emlid Reach RS+ is “emlidreach”

NOTE: After selecting the receiver’s network on your list of available WiFi connections, make sure you are truly connected. On some Android and Apple phones, a pop-up notification may say that the newly selected network “has no internet connection” and will default to immediately disconnect unless you specify otherwise.

- Open Emlid Flow app. If it is already open, it might work best to close and reopen. (Generally, if you have any issues with the Emlid Flow app, restarting usually helps.) Once the dot-lights on the receiver become solidly on, the receiver will show up in the Emlid Flow app and you can select it. This will take you to the Receivers page and show you the one you are connected to.

# Starting the base

- Attach the LoRa antenna and mount the Reach RS+ base on the tripod and accurately level over the benchmark.

- Turn on and connect with the receiver as described above.

- Select Settings and page down to Base settings.

- In the Base coordinates section select Configure > Coordinate entry method > Manual and enter in the coordinates for the base station that you have been given. Antenna Height: Measure from the ground to the base of the Reach RS+ device to determine the Measured height. For example, if you are using a 2-meter pole and quick-tripod setup, your Measured height will be 2 meters. 

The actual phase center of the antenna is 0.65 m higher but the

 receiver will include that automatically adjust for that.

- OR if the survey you are doing does not require a highly accurate base location and there is no known benchmark, your instructor might tell you to just collect a quick location. To do this, select Average single instead of Manual. Then select a duration of time to average the position over. Suggest at least 5 minutes averaging time.

- Select Status on the main receiver page and check that there are plenty of Satellites in view. Technically 4 is enough but these receivers are set to require 7 or more; more than 10 is best, and these days >15 is common. PDOP (position dilution of precision) describes the error caused by the relative position of the GPS/GNSS satellites. Basically, you want the satellites as spread out across the sky as possible and not only in one area, say overhead. Low PDOP values, in the range of 4.0 or less, indicate good satellite geometry, whereas a PDOP greater than 7.0 indicates that satellite geometry is weak. Solution will be Single because the base is not receiving any corrections from another receiver. Positioning mode should be Static if the base is set up correctly. Estimated accuracy will likely be in the meter-range for the base.

- Check Logging tab. Start recording Raw data (RINEX 3.03) and Position (LLH or XYZ). If the data are already recording, it means the previous user did not stop the logging before turning off the receiver, so the logging automatically restarted when the receiver was turned back on. This is ok, but less recommended. If you turned on the base station after the receiver was in place on the tripod, you can just let the logging continue. If the base station receiver was moving around while on, then you should stop the logging and then restart it. This will ensure that all the data in the file was collected after the receiver was in place. (Base correction is not needed for the base receiver, so this can stay off.)

- When the survey time is complete, stop the Logging and export the Raw and Position files before turning off the receiver (see final step in Rover section below on how to export).

# Starting the Rover

- Attach the LoRa antenna and mount the Reach RS+ a survey pole. Turn on and connect with the receiver as described above in the base section. Select Status on the main receiver page and check that there are plenty of Satellites in view. Positioning mode should be Kinematic. After a few minutes, the Solution should change from Single (no base correction) or Float (base connection but not full correction) to Fix, meaning all ambiguities are resolved and RTK solution is showing centimeter-level Estimated accuracy. Establishment of Fix is accompanied by a beep from the receiver. You are now ready to start your surveying. You can close the Status page.

- Check Logging tab. Start recording Raw data (RINEX 3.03), Position (LLH or XYZ), and Base correction (RTCM3). If the data are already recording, it means the previous user did not stop the logging before turning off the receiver, so the logging automatically restarted when the receiver was turned back on. This is okay, but less recommended.

- Go to the Survey icon on the bottom of them main receiver page. This feature allows you to make project-based point collection with auto-save rules or manually and then export the data into different formats. It is perfect for surveying and ground control point collection.

- Click the + in the upper right corner to start a new project (or click on a project name to open an existing one). Give the new project a name, put down the people involved in the survey as Authors, and add a description if it will be helpful. The typical coordinate system default will appear as “Global CS” (which is the Emlid term for WGS 84, EPSG:4326) with vertical datum of “ellipsoidal height.” There is no reason to change this unless your instructor tells you to. Then click Save.

- Press to go to the point collection window. Open the pole height menu.  In most cases you will be using a 2-meter pole so no changes will be needed, but if your pole is a different height, enter that value instead. Click Save.

- If you want the data collection to average over a certain time period, select  to choose the duration you want. Ten seconds can work fine if your instructor does not give you another protocol. To ensure highest quality results, it is a good idea to activate FIX only option. You will not be able to collect a point unless the rover has a Fix solution.

- If you wish to change the point’s name or add a description you can edit those in this menu. If you do not change it, the default point name will increment through “1,” “2,” etc. If you choose a name such as ‘Point 1’ the name will similarly increment automatically as you collect more points.

- When you are ready to collect a point and the pole is being carefully held over the survey point with the level bubble leveled, select the blue “measure” button to start collecting.

- If you are having trouble maintaining Fix, there are suggestions in the Troubleshooting section below. If that still does not solve the issue, your instructor may decide to switch to a PPK workflow. In that case, turn off FIX only and each collection point should be done for 30 seconds.

- Exporting Data: When you finish collecting points, you can export your project. Press ••• and Export. Generally, the default format is CSV. You will be prompted to decide how you wish to send the file. Then go to the Logging tab and turn off logging for Raw, Position, and Base correction data and export those as well. If you choose to email files to yourself and you are currently connected to the receiver hotspot, after you “send” the email, disconnect from the receiver hotspot so that the email can actually can go out via cellular or another WiFi network.

- Return to the Recievers – bptton left. Click the unit name at the top and select shutdown. Or simply click the power button on the unit to select shutdown.

# Troubleshooting and some good things to know

This is not a comprehensive troubleshooting guide but addresses some of the more common issues.

- If the Emlid Flow app does not seem to be finding the receiver or is taking a really long time to move from the selection pane to showing you the status of the receiver, try restarting the app. Restarting the app seems to help with many things.

- If the WiFi LED light to the left of the power button is showing blue, then the receiver is joined to a local WiFi network rather than serving as hotspot itself. Join the same local WiFi network so you can connect to the receiver through it. Go to Settings > WiFi, then switch the Hotspot on. If you wish to prevent this in the future, you can “forget” the known WiFi network.

- Some phones are set to not connect to hotspots/WiFi networks that are not connected to the internet. If you appear to be joined to the receiver’s hotspot but are then not actually able to connect in the app, open your phone’s settings. Select the receiver’s WiFi network and require it to “join anyway” (even though it is not connected to the internet)

- If the Emlid Flow app is saying “sorry Emlid Flow is not responding” try forgetting the receiver’s WiFi network and then rejoining it again. Rebooting your phone/tablet can also work.

- The reference frame used by Emlids is WGS84.

- Getting Fix status with the rover: Usually the rover shows Fix after a few minutes (accompanied by a beep). However, sometimes, it can take longer—even more than 10 minutes—for reasons that can be hard to determine. Here are some things to check:

  - Make sure the LoRa antenna on both the base and rover are screwed all the way on.

  - If your rover is still not getting a Fix status, trying waiting longer. If it still does not work, try restarting the rover. Moving to a slightly different distance from the base can help sometimes (perhaps there is interference at a particular distance?).

  - Make sure that your base has a fairly accurate known location. If the base location is off by >10 meters from its actual location, it can take longer to get and keep Fix with the rover. If the base location is off by 100 meters, it is unlikely Fix for the rover will be achieved. If you used a Manual location in Base coordinates, check that you entered it correctly. If you used an Average single, try collecting again for a longer period of time.

  - If the rover is receiving corrections (you can check this by going back to the main menu and choosing Correction Input where it will either say “Waiting for corrections” or “Receiving corrections”) and is in the Float status but not Fix, try moving to an area with better skyview.

  - Check solar activity (NOAA Space Weather https://www.swpc.noaa.gov/). It can affect the signal from the satellites as they pass through the ionosphere. If either the base or the rover is not getting consistent “lock” on at least seven satellites, the rover will not get Fix.

  - Consider whether there could be radio interference in your area from other sources or a significant multipath reflector (nearby buildings, vehicles, or trees reflecting the GPS/GNSS signal along a path longer than the direct signal).

  - If you lose Fix after having it, try coming back closer to the base. You may have lost line-of-sight between the two receivers and need to reestablish Fix from a closer point. You may need to experiment for a particular location on conditions for how far away you are able to get away from the base or what LoRa settings (above) are optimum.

  - Make sure you have the same LoRa settings in the Correction output tab on the base unit and in Correction Input on the rover. The base should be at full Output power of 20 dBm. You could also try adjusting the LoRa settings, such as lowering the air data rate (this typically allows the LoRa signal to have a longer baseline, although fewer corrections will be sent per unit time, so you would likely need to select just the GPS constellation to limit the amount of data). You could also try adjusting the frequency. Although generally higher frequency will penetrate further, you may have local interference at certain frequencies. Try stepping down 1–2 MHz at a time (of course you need to make the same changes on both base and rover/s). More information is available from https://docs.emlid.com/reachrs2/tutorials/basics/tuning-lora/.

  - In the meantime, if a survey needs to be completed that day, it may make sense to switch to a PPK (post-processing kinematic) survey. Be sure to increase survey point collection time to at least 30 seconds and hold that pole as still as possible even for this longer time.